# Residential Self-Audit Checklist

This checklist includes measures that are generally cost-effective for households.  Items in italics require minimum expense and effort and deliver immediate savings.

# Hot Water

- Install faucet aerators

- Install low flow showerheads

- Turn-down hot water tank setting to 120°F

- Insulate hot water pipes where accessible and especially within 10 feet of the water heater.

- Fix hot water leaks

# Heating Ventilation and Air-Conditioning

- Turn down thermostat in the winter; turn up thermostat in the summer

- Install setback thermostat, 7-day or 5-1-1, and setback by 5-8 degrees when not present, 10-15 degrees when away for extended periods

- Clean/replace air filter on furnace and air-conditioner

- Service furnace and AC at least every 2 years

- Clear vegetation from around outdoor AC condenser coils.  Make sure coils look clean.

- Close blinds and curtains on the sunny side during the summer daytime and on all exposures during the winter nights

- Purchase Energy Star heating and cooling systems, when replacing equipment.

# Envelope

- Remove window AC units in the winter

- Close movable storms for winter months

- Repair/replace broken storm windows

- Use window film where appropriate

- Caulk around window and door frames

- Install outlet and light switch gaskets/foam inserts on exterior wall plates

- Install window in convertible storm doors during the winter

- Weatherstrip exterior doors

- Ensure attached garage door closes fully

- Foam fill around exterior wall penetrations

- Airseal windows

- Insulate attic to recommended level - R-48

- Insulate walls with blown-in insulation R-13

- Replace failed windows with double pane, 
low-e option

- Install storm doors

# Lighting

- Turn off lights when not present.

- Use a timer on security and decorative lights.

- Replace incandescent lights with LED where possible - including 3-way bulbs and dimmable

- Use LED nightlights with photocell sensors

- Install and use dimmers

# Appliances

- Line dry or rack dry clothes

- Clean lint filter and vent on dryer

- Use moisture sensor setting on dryer

- Use warm or cold water for clothes wash

- Air dry dishes in dishwasher

- Run only FULL clothes washers and dishwashers

- Use microwave oven when practicable

- Clean refrigerator door gaskets and coils.  Adjust tilt to promote gravity closure

- Unplug and dispose of second refrigerator/freezer

- Make your water bed every day

- Close fireplace flue when not in use

- Turn off computer when not in use.  Enable auto-sleep controls. Screen savers alone do not save much energy

- Enable low-energy sleep mode on TVs

- Purchase Energy Star appliances and electronics

- Purchase clothes dryer with a moisture sensor

- Purchase a horizontal axis (front load) clothes washer

- Replace refrigerator if more than 20 years old

# Other

- Purchase LCD versus Plasma TV

- Purchase LED security lighting